## tbl_logRemoval
tbl_logRemoval | [10 empty] | new column
TreatmentGroup | TreatmentName | PathogenGroup | TreatmentID | PathogenGroupID | Mean | Min | Max | ReferenceID | ReferenceName | ReferenceLink | notesLogRemoval | distribution | alpha | beta
Coagulation, flocculation and sedimentation | Conventional clarification | Bacteria | 1 | 1 | 1.1 | 0.2 | 2 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0.2 | 2
Coagulation, flocculation and sedimentation | Lime softening | Bacteria | 1 | 2 | 2.5 | 1 | 4 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 1 | 4
Filtration | Granular high-rate filtration | Bacteria | 1 | 3 | 2.3 | 0.2 | 4.4 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0.2 | 4.4
Filtration | Membrane filtration (micro, ultra-, nanofiltration, reverse osmosis) | Bacteria | 2 | 3 | 4 | 1 | 7 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 1 | 7
Filtration | Precoat filtration | Bacteria | 3 | 3 | 1.25 | 0.2 | 2.3 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0.2 | 2.3
Filtration | Slow sand filtration | Bacteria | 4 | 1 | 4 | 2 | 6 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 6
Pretreatment | Bank filtration | Bacteria | 4 | 2 | 4 | 2 | 6 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 6
Pretreatment | Roughing filters | Bacteria | 4 | 3 | 1.25 | 0.2 | 2.3 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0.2 | 2.3
Pretreatment | Storage reservoirs | Bacteria | 5 | 1 | 1.45 | 0.7 | 2.2 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0.7 | 2.2
Primary disinfection | Chlorine | Bacteria | 5 | 2 | 2 | 2 | 2 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 2
Primary disinfection | Chlorine dioxide | Bacteria | 5 | 3 | 2 | 2 | 2 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 2
Primary disinfection | Ozone | Bacteria | 6 | 1 | 2 | 2 | 2 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 2
Primary disinfection | UV | Bacteria | 6 | 2 | 4 | 4 | 4 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 4 | 4
Pretreatment | Primary treatment | Bacteria | 6 | 3 | 0.25 | 0 | 0.5 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 0 | 0.5
Pretreatment | Secondary treatment | Bacteria | 7 | 1 | 2 | 1 | 3 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 1 | 3
Filtration | Dual media filtration | Bacteria | 7 | 2 | 0.5 | 0 | 1 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 0 | 1
Filtration | Membrane filtration | Bacteria | 7 | 3 | 4.75 | 3.5 | 6 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 3.5 | 6
Primary disinfection | Chlorination | Bacteria | 8 | 1 | 4 | 2 | 6 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 2 | 6
Filtration | Reverse osmosis os- mosis | Bacteria | 8 | 2 | 6 | 6 | 6 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 6 | 6
Primary disinfection | Ozonation | Bacteria | 8 | 3 | 4 | 2 | 6 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 2 | 6
| Wetlands, surface flow (surface Wetlands, surface flow | Bacteria | 9 | 1 | 2 | 1.5 | 2.5 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 1.5 | 2.5
| Wetlands, subsurface flow | Bacteria | 9 | 2 | 1.75 | 0.5 | 3 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 0.5 | 3
Primary disinfection | UV radiation UV | Bacteria | 9 | 3 | 3 | 2 | 4 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 2 | 4
Coagulation, flocculation and sedimentation | Conventional clarification | Viruses | 10 | 1 | 1.75 | 0.1 | 3.4 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0.1 | 3.4
Coagulation, flocculation and sedimentation | Lime softening | Viruses | 11 | 1 | 3 | 2 | 4 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 4
Filtration | Granular high-rate filtration | Viruses | 11 | 3 | 1.75 | 0 | 3.5 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0 | 3.5
Filtration | Membrane filtration (micro, ultra-, nanofiltration, reverse osmosis) | Viruses | 12 | 1 | 3.75 | 1 | 6.5 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 1 | 6.5
Filtration | Precoat filtration | Viruses | 12 | 2 | 1.35 | 1 | 1.7 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 1 | 1.7
Filtration | Slow sand filtration | Viruses | 12 | 3 | 2.125 | 0.25 | 4 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0.25 | 4
Pretreatment | Bank filtration | Viruses | 13 | 1 | 5.2 | 2.1 | 8.3 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2.1 | 8.3
Primary disinfection | Chlorine | Viruses | 13 | 2 | 2 | 2 | 2 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 2
Primary disinfection | Chlorine dioxide | Viruses | 13 | 3 | 2 | 2 | 2 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 2
Primary disinfection | Ozone | Viruses | 14 | 1 | 2 | 2 | 2 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 2
Primary disinfection | UV | Viruses | 14 | 2 | 4 | 4 | 4 | 40 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 4 | 4
Pretreatment | Primary treatment | Viruses | 14 | 3 | 0.05 | 0 | 0.1 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 0 | 0.1
Pretreatment | Secondary treatment | Viruses | 15 | 1 | 1.25 | 0.5 | 2 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 0.5 | 2
Filtration | Dual media filtration | Viruses | 15 | 2 | 1.75 | 0.5 | 3 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 0.5 | 3
Filtration | Membrane filtration | Viruses | 15 | 3 | 4.25 | 2.5 | 6 | 40 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 2.5 | 6
Primary disinfection | Chlorination | Viruses | 16 | 1 | 2 | 1 | 3 | 8 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 1 | 3
Filtration | Reverse osmosis os- mosis | Viruses | 16 | 2 | 6 | 6 | 6 | 8 | Day and Berendt, 1972 | http://qmrawiki.canr.msu.edu/index.php/Francisella_tularensis:_Dose_Response_Models |  | uniform | 6 | 6
Primary disinfection | Ozonation | Viruses | 16 | 3 | 4.5 | 3 | 6 | 8 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 3 | 6
Primary disinfection | UV radiation UV | Viruses | 17 | 1 | 2 | 1 | 3 | 8 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 1 | 3
Coagulation, flocculation and sedimentation | Conventional clarification | Protozoa | 17 | 2 | 1.5 | 1 | 2 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 1 | 2
Coagulation, flocculation and sedimentation | Dissolved air flotation | Protozoa | 17 | 3 | 1.6 | 0.6 | 2.6 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0.6 | 2.6
Coagulation, flocculation and sedimentation | High-rate clarification | Protozoa | 18 | 1 | 2.4 | 2 | 2.8 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 2.8
Coagulation, flocculation and sedimentation | Lime softening | Protozoa | 18 | 2 | 1 | 0 | 2 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0 | 2
Filtration | Granular high-rate filtration | Protozoa | 18 | 3 | 1.85 | 0.4 | 3.3 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0.4 | 3.3
Filtration | Membrane filtration (micro, ultra-, nanofiltration, reverse osmosis) | Protozoa | 19 | 1 | 4.65 | 2.3 | 7 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2.3 | 7
Filtration | Precoat filtration | Protozoa | 19 | 2 | 4.85 | 3 | 6.7 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 3 | 6.7
Filtration | Slow sand filtration | Protozoa | 19 | 3 | 2.65 | 0.3 | 5 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 0.3 | 5
Pretreatment | Bank filtration | Protozoa | 20 | 1 | 1.5 | 1 | 2 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 1 | 2
Pretreatment | Storage reservoirs | Protozoa | 20 | 2 | 1.85 | 1.4 | 2.3 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 1.4 | 2.3
Primary disinfection | Chlorine | Protozoa | 20 | 3 | 2 | 2 | 2 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 2
Primary disinfection | Chlorine dioxide | Protozoa | 21 | 2 | 2 | 2 | 2 | 6 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 2
Primary disinfection | Ozone | Protozoa | 21 | 3 | 2 | 2 | 2 | 6 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 2 | 2
Primary disinfection | UV | Protozoa | 21 | 1 | 4 | 4 | 4 | 8 | WHO (2011): Drinking water guideline, Table 7.7 | http://apps.who.int/iris/bitstream/10665/44584/1/9789241548151_eng.pdf#page=162 |  | uniform | 4 | 4
Pretreatment | Primary treatment | Protozoa | 22 | 1 | 0.5 | 0 | 1 | 8 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 0 | 1
Pretreatment | Secondary treatment | Protozoa | 22 | 2 | 1 | 0.5 | 1.5 | 8 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 0.5 | 1.5
Filtration | Dual media filtration | Protozoa | 23 | 1 | 2 | 1.5 | 2.5 | 8 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 1.5 | 2.5
Filtration | Membrane filtration | Protozoa | 23 | 3 | 6 | 6 | 6 | 8 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 6 | 6
Primary disinfection | Chlorination | Protozoa | 24 | 1 | 0.75 | 0 | 1.5 | 8 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 0 | 1.5
Filtration | Reverse osmosis os- mosis | Protozoa | 24 | 3 | 6 | 6 | 6 | 8 | Day and Berendt, 1972 | http://qmrawiki.canr.msu.edu/index.php/Francisella_tularensis:_Dose_Response_Models |  | uniform | 6 | 6
| Wetlands, surface flow (surface Wetlands, surface flow | Protozoa | 25 | 1 | 1 | 0.5 | 1.5 | 8 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 0.5 | 1.5
| Wetlands, subsurface flow | Protozoa | 25 | 2 | 1.25 | 0.5 | 2 | 8 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 0.5 | 2
Primary disinfection | UV radiation UV | Protozoa | 25 | 3 | 3 | 3 | 3 | 8 | DEMEAUWARE Deliverable 3.1 (p.18-19): NRMMC-EPHC-AHMC (2006), WHO 2006) | http://demoware.eu/en/results/deliverables/deliverable-d3-1-appropiate-and-user-friendly-methodologies-for-ra_lca_wfp.pdf/@@download/file/Deliverable%20D3.1%20-%20Appropiate%20and%20user%20friendly%20methodologies%20for%20RA_LCA_WFP.pdf |  | uniform | 3 | 3
Filtration | Microfiltration | Viruses | 26 | 1 | 1.85 | 0 | 3.7 | 46 | MICRORISK final report chapter 4 Table 4.11 | https://www.kwrwater.nl/wp-content/uploads/2016/09/MICRORISK-FINAL-REPORT-Quantitative-microbial-risk-assessment-in-the-Water-Safety-Plan.pdf |  | uniform | 0 | 3.7
Filtration | Microfiltration | Bacteria | 26 | 2 | 2.15 | 0 | 4.3 | 46 | MICRORISK final report chapter 4 Table 4.11 | https://www.kwrwater.nl/wp-content/uploads/2016/09/MICRORISK-FINAL-REPORT-Quantitative-microbial-risk-assessment-in-the-Water-Safety-Plan.pdf |  | uniform | 0 | 4.3
Filtration | Microfiltration | Protozoa | 26 | 3 | 4.15 | 2.3 | 6 | 46 | MICRORISK final report chapter 4 Table 4.11 | https://www.kwrwater.nl/wp-content/uploads/2016/09/MICRORISK-FINAL-REPORT-Quantitative-microbial-risk-assessment-in-the-Water-Safety-Plan.pdf | Upper boundary based on WHO 2017 and limitation of Title22 not do award more than 6 log to one process | uniform | 2.3 | 6
Filtration | Ultrafiltration | Viruses | 27 | 1 | 3.915 | 2.69 | 5.14 | 47 | NSF/ANSI 419 validation | http://info.nsf.org/Certified/pdwe/Listings.asp |  | uniform | 2.69 | 5.14
Filtration | Ultrafiltration | Bacteria | 27 | 2 | 5.75 | 5.5 | 6 | 47 | NSF/ANSI 419 validation | http://info.nsf.org/Certified/pdwe/Listings.asp | Upper boundary based on WHO 2017 | uniform | 5.5 | 6
Filtration | Ultrafiltration | Protozoa | 27 | 3 | 5.9 | 5.3 | 6.5 | 47 | NSF/ANSI 419 validation | http://info.nsf.org/Certified/pdwe/Listings.asp |  | uniform | 5.3 | 6.5
Filtration | Nanofiltration | Viruses | 28 | 1 | 5.72 | 5.44 | 6 | 47 | NSF/ANSI 419 validation | http://info.nsf.org/Certified/pdwe/Listings.asp | Upper boundary based on WHO 2017 | uniform | 5.44 | 6
Filtration | Nanofiltration | Bacteria | 28 | 2 | 5.72 | 5.44 | 6 | 47 | NSF/ANSI 419 validation | http://info.nsf.org/Certified/pdwe/Listings.asp | At least as effective for bacteria as for viruses | uniform | 5.44 | 6
Filtration | Nanofiltration | Protozoa | 28 | 3 | 6.035 | 5.75 | 6.32 | 47 | NSF/ANSI 419 validation | http://info.nsf.org/Certified/pdwe/Listings.asp |  | uniform | 5.75 | 6.32
Filtration | Reverse osmosis | Viruses | 29 | 1 | 5.72 | 5.44 | 6 | 47 | NSF/ANSI 419 validation | http://info.nsf.org/Certified/pdwe/Listings.asp | identical to Nanofiltration | uniform | 5.44 | 6
Filtration | Reverse osmosis | Bacteria | 29 | 2 | 5.72 | 5.44 | 6 | 47 | NSF/ANSI 419 validation | http://info.nsf.org/Certified/pdwe/Listings.asp | identical to Nanofiltration | uniform | 5.44 | 6
Filtration | Reverse osmosis | Protozoa | 29 | 3 | 6.035 | 5.75 | 6.32 | 47 | NSF/ANSI 419 validation | http://info.nsf.org/Certified/pdwe/Listings.asp | identical to Nanofiltration | uniform | 5.75 | 6.32

## tbl_logRemoval (literature)
Sources and comments:
POINT ESTIMATES OF LOG REMOVAL BY TREATMENT PROCESSES
| adenovirus | enterovirus | Campylobacter | Cryptosporidium | Giardia | [7 empty] | Appl Environ Microbiol. 2010 Feb; 76(4): 1028–1033.
Chlorine CT10 >30 mg-min/l (pH 7.2 10°C) | 4 | 5 | 4 | 0 | 0.6 | 3 CSTR, Other pH or T? |  |  |  | Campy: Blaser 1986 |  |  | Virus | CT value (mg·min/liter)
Ozone >0.4 mg/L t>30 min T=1°C | 5 | 5 | 5 | 0.87 | 0.87 | 3 CSTR Not all Arrhenius parameters for all organisms are known, see e.g. Cryptosporidium 1 | [7 empty] | 2-log10 CT |  | 3-log10 CT |  | 4-log10 CT
Ozone >0.4 mg/L t>30 min T=25°C | 5 | 5 | 5 | 2.48 | 2.48 | Assumed highly effective
Ozone >0.1 mg/L t=1 min T=1°C | 1 | 1 | 1 | 0 | 0 | 3 CSTR Not all Arrhenius parameters for all organisms are known, see e.g. Cryptosporidium 1
UV Disinfection 40 mJ/cm2 | 0.72 | 2.2 | 5.3 | 3 | 2.4 | 40 | 0.018 | 0.055 | 0.88 | 0.225 | 0.122 | Hijnen et al. 2006 |  | pH 7 | pH 8 | pH 7 | pH 8 | pH 7 | pH 8
UV Disinfection 60 mJ/cm2 | 1.08 | 3.3 | 5.3 | 3 | 2.4 | 60 | 3 | 4.9 | 5.3 | 3 | 2.4 |  | HAdV2 | 0.02 | 0.04 | 0.06 | 0.12 | 0.15 | 0.27
UV Disinfection 100 mJ/cm2 | 1.8 | 4.9 | 5.3 | 3 | 2.4 | 100 | [6 empty] | HAdV40 | <0.02 | <0.02 | <0.02 | <0.02 | <0.04 | <0.04
Bank filtration >60d | 9 | 9 | 9 | 9 | 9
Coag-floc-sed-filt | 2.5 | 2.5 | 2.1 | 2.9 | 3.3 | Hijnen IWA Median MEC | [6 empty] | E1 | 0.96 | 0.99 | 1.3 | 1.3 | 1.5a | 1.6
Direct filtration | 0.9 | 0.9 | 1.4 | 2.9 | 3
Microfiltration lab tests | 0 | 0 | 0 | 2.3 | 2.3 | Smeets 2006 T4.11 |  | https://www.kwrwater.nl/wp-content/uploads/2016/09/MICRORISK-FINAL-REPORT-Quantitative-microbial-risk-assessment-in-the-Water-Safety-Plan.pdf
Ultrafiltration In lab tests | 6 | 6 | 6 | 6 | 6 | Smeets 2006 T4.11 |  | https://www.kwrwater.nl/wp-content/uploads/2016/09/MICRORISK-FINAL-REPORT-Quantitative-microbial-risk-assessment-in-the-Water-Safety-Plan.pdf
Ultrafiltration Verifyable in practice | 4 | 4 | 4 | 4 | 4 | Smeets 2006 T4.11 |  | https://www.kwrwater.nl/wp-content/uploads/2016/09/MICRORISK-FINAL-REPORT-Quantitative-microbial-risk-assessment-in-the-Water-Safety-Plan.pdf
Reverse Osmosis In lab tests | 6 | 6 | 6 | 6 | 6 | Smeets 2006 T4.11 |  | https://www.kwrwater.nl/wp-content/uploads/2016/09/MICRORISK-FINAL-REPORT-Quantitative-microbial-risk-assessment-in-the-Water-Safety-Plan.pdf
Reverse Osmosis Verifyable in practice | 3 | 3 | 3 | 3 | 3
Granular activated carbon | 0 | 0 | 0.8 | 1.1 | 1.6 | Hijnen IWA Median MEC
Grey means that efficacy is highly uncertain
NSF/ANSI 419 | UF | [5 empty] | NF, Crypto ANSI NSF
http://info.nsf.org/Certified/pdwe/Listings.asp | Crypto |  | virus |  | bacteria |  | Crypto |  | virus
Brand | Min | mean | Min | mean | Min | mean | Min | mean | Min | mean
Dow Chemical Company | 6.47 | 6.49
Dow Chemical Company | 6.15 | 6.24
Dow Chemical Company | 5.77 | 5.9
Dow Chemical Company | 5.77 | 5.9
Evoqua Water Technologies | 5.7 | 6.14
Hydranautics - a Nitto Group Company | 5.54 | 5.81
inge GmbH | 5.8 | 6.5 | 4.02 | 4.21
Meidensha Corporation | 5.87 | 6.09 | 4.1 | 4.18 | 5.48 | 5.93
Nanostone Water Inc. | 5.31 | 5.93
Qua Group LLC | 6.14 | 6.18
Scinor Water America | 6.08 | 6.28 | 2.69 | 4.34
Scinor Water America | 6.26 | 6.36 | 3.98 | 5.14
Scinor Water America | 6.19 | 6.37 | 3.63 | 4.37
SUEZ Water Technologies & Solutions | 5.41 | 6.01
X-Flow B.V. | [6 empty] | 5.75 | 6.32 | 5.44 | 5.54
Pentair/X-flow Aquaflex 64 |  | 6 |  | 4 |  |  |  | 6
| 5.31 | 6.5 | 2.69 | 5.14 | 5.48 | 5.93 | 5.75 | 6.32 | 5.44 | 5.54
Australian reuse guideline 2006
Bacillus atrophaeus endospores are used in this test as a surrogate for Cryptosporidium (NSF ANSI 419 brochure). Bacillus atrophaeus spores cells are ellipsoid and are about 1.22 micrometers (µm) long and 0.65 µm in diameter. Since protozoa are larger than the test bacterial spores, they are expected to be removed at least as effectively. MS2 bacteriophage are used as surrogate for virus removal, which is a widely accepted as a model organism.
Pentair/X-flow Aquaflex 64 : Pseudomonas diminuta as surrogate for Crypto. Pseudomonas diminuta is more commonly called Brevundimonas diminuta. B. diminuta is commonly used as a test organism for validation of sterilizing-grade membrane filters due to the small size of the bacterium (0.3 × 1.0 µm).